## Sheet1
NORTH VERSAILLES TOWNSHIP SANITARY AUTHORITY
Procedures for dye-testing program for the sale of properties
Effective January 1, 2015
1) Effective January 1, 2015, dye-testing will be performed by the North Versailles Township
Sanitary Authority (NVTSA). Independent inspectors and plumbers will not be permitted.
2) Application for a Dye Test Document of Certification must be filled out and all fees paid at
least three days prior to the date of sale. If site condition are different than reported at the
time of the original application, additional fees may be assessed and must be paid before
the Dye Test Document of Certification is issued.
3) Dye-testing will be scheduled Monday thru Friday, between 9:30 AM and 1:00PM, except
legal holidays. Failure of the property owner (or their designated representative) to be
present on site within 15 minutes of the appointment time will be cause for an automatic
failure and forfeiture of the application fee.
4) NVTSA must have access to the inside of all structures to check for illegal connections,
I.e., sump pumps, etc. Additionally, the water should be turned on at the time of the test.
The NVTSA will supply water if requested at the time of the application for an additional
fee of $100.00 per visit.
5) During the Dye-Test, the property owner (or their designated represented) will not utilize
water or other facilities. This will insure the accuracy of the lateral testing portion of the
program.
6) Prior to scheduling a test, the property owner (or their designated represented) should
open and/or unplug all downspouts, so that they flow freely, locate discharge points,
whenever possible, and provide access to the cleanout and fresh air vent if the lateral was
so constructed.
8) Testing shall include any, but not limited to, the following: 1: interior sink (kitchen sink or
laundry tub), 2: interior toilet, 3: sump pumps. (if equipped), 4: all exterior downspouts,
and area drains. 5: fresh air cap. (if equipped)
9) A Report of Dye Test and Inspection will be issued noting the results. If the NVTSA notes
that no illegal inflow of infiltration, a Dye Test Document of Certification will be issued.
10) In the event that illegal flow is detected, the NVTSA will fail the property. Such failures
must be corrected and a re-test of the violations shall be scheduled. Additional fees may
apply depending the type of corrective action needed.
11) In the event of foul weather (freezing temperature) and the downspouts and surface
drains are unable to be tested, $2,000.00 will be held in escrow until the test can be
performed.
12) Please note that any dwelling stated for demolition is not required to be tested if a
Termination of Service Connection - Certification of Compliance is secured.
Revised 2-18-2015